## Slide 1: Dynamic Light Scattering <paper review>
Osamu Katagiri-Tanaka A01212611@itesm.mx
21 May, 2020

## Slide 2: Agenda
<a point for discussion> : <5min
<another point for discussion> : ~20min

## Slide 3
A. Bootz, V. Vogel, D. Schubert, J. Kreuter, Comparison of scanning electron microscopy, dynamic light scattering and analytical ultracentrifugation for the sizing of poly(butyl cyanoacrylate) nanoparticles, Eur. J. Pharm. Biopharm. 57 (2004) 369–375. https://doi.org/10.1016/S0939-6411(03)00193-0.
Three different methods were used to determine the size and size distribution of PBCA nanoparticles (nanoparticles formed by anionic emulsion polymerization of butylcyanoacrylate in the presence of poloxamer 188 as a stabilizer).
 | scanning electron microscopy SEM | dynamic light scattering DLS | analytical ultracentrifugation AUC
Particle diameter | 167 nm | 199 nm | 184 nm
advantages | detailed shape and morphological information | short time and low cost | measurements can be obtained at low particle concentrations
 |  | the movement of particles in a centrifuge (ANUC) shows a stronger size dependence than the diffusion coefficient (DLS) | 
disadvantages | risk of changes in particle properties during drying and contrasting | measurement will be identical or ~larger than the ‘real’ particle | sedimentation of nanoparticles shall be slow enough to obtain sufficient data points

## Slide 4: Conclusions:
<Conclusion A>
<Conclusion B>

## Slide 6: References
<reference A>
<reference B>